## Ex 12-1A
EXACT EVAPORATION RATE
| Altitude | 0 | feet
| Relative Humidity | 80%
| Wet Bulb Temperature @Inlet | 80 | oF
| L/G Ratio | 1.476
| Cooling Range | 15.506 | oF
| Cold Water Temperature | 89 | oF
| Enthalpy of Air @Inlet | #VALUE! | ft3/Lb dry air
| Equivalent Enthalpy @Inlet | #VALUE! | ft3/Lb dry air
| Equivalent Dry Bulb Temperature | 85.2415 | oF
| Absolute Humidity @Inlet | #VALUE!
| Enthalpy Air @ Exit | #VALUE! | ft3/Lb dry air
| Equivalent Enthalpy @Exit | #VALUE! | ft3/Lb dry air
| Exit Wet Bulb Temperature | 97.0002 | oF
| Absolute Humidity | #VALUE!
| Exact L/G Ratio | #VALUE!
| Evaporation Rate | #VALUE!
Press Button to Run
Input the data on the cells
with the background colored
with yellow.