## Ex 2-3
CALCULATION OF TOWER EXIT AIR TEMPERATURE
| Altitude | 0 | feet
| Wet Bulb Temperature @Inlet | 82.4 | oF
| L/G Ratio | 1.4928
| Cooling Range | 18 | oF
| Enthalpy of Exit Air | #VALUE! | ft3/Lb dry air
| Equivalent Enthalpy | #VALUE! | ft3/Lb dry air
| Exit Temperature | 100.8121 | oF
Input the data on the cells
with the background colored
with yellow.
Press Button to Run