## Ex 5-2
Calculation of Cold Water Temperature @Alternative Points
DATA INPUT |  | CALCULATION OF KaV/L @ DESIGN
INPUT PARAMETERS | DATA |  | WATER SIDE | AIR SIDE | 1/(Hw-Ha)
1. Design L/G | 1.6492 | 0.1 | #VALUE! | #VALUE! | #VALUE!
2. Design HWT (oF) | 104 | 0.4 | #VALUE! | #VALUE! | #VALUE!
3. Design CWT (oF) | 89 | 0.6 | #VALUE! | #VALUE! | #VALUE!
4. Wet Bulb Temp. (oF) | 80 | 0.9 | #VALUE! | #VALUE! | #VALUE!
5. Characteristic Slope | -0.8 |  |  |  | #VALUE!
6. Altitude (Feet) | 0 | CALCULATION OF KaV/L @ A POINT
7. Design Cooling Range (oF) | 15 |  | WATER SIDE | AIR SIDE | 1/(Hw-Ha)
8. Design Approach (oF) | 9 | 0.1 | #VALUE! | #VALUE! | #VALUE!
9. Design KaV/L | #VALUE! | 0.4 | #VALUE! | #VALUE! | #VALUE!
10. C VALUE IN CHA. | #VALUE! | 0.6 | #VALUE! | #VALUE! | #VALUE!
11. By-Pass Wall Water | 4% | 0.9 | #VALUE! | #VALUE! | #VALUE!
12. New L/G | 1.979 |  |  | #VALUE! | #VALUE!
13. New Cooling Range (oF) | 15.625 |  |  | 12.3313
14. New KaV/L | #VALUE! | New Cold Water Temperature |  |  | 92.3313
|  | New Hot Water Temperature |  |  | 107.3313
Press Button to Run
Input the data on the cells
with the background colored
with yellow.