## Ex 4-6
Calculation of Cold Water Temperature @Alternative Points
DATA INPUT |  | CALCULATION OF KaV/L @ DESIGN
INPUT PARAMETERS | DATA |  | WATER SIDE | AIR SIDE | 1/(Hw-Ha)
1. Design L/G | 1.6492 | 0.1 | #VALUE! | #VALUE! | #VALUE!
2. Design HWT (oF) | 104 | 0.4 | #VALUE! | #VALUE! | #VALUE!
3. Design CWT (oF) | 89 | 0.6 | #VALUE! | #VALUE! | #VALUE!
4. Wet Bulb Temp. (oF) | 80 | 0.9 | #VALUE! | #VALUE! | #VALUE!
5. Characteristic Slope | -0.8 |  |  |  | #VALUE!
6. Altitude | 0 | CALCULATION OF KaV/L @ A POINT
7. Design Cooling Range (oF) | 15 |  | WATER SIDE | AIR SIDE | 1/(Hw-Ha)
8. Design Approach (oF) | 9 | 0.1 | #VALUE! | #VALUE! | #VALUE!
9. Design KaV/L | #VALUE! | 0.4 | #VALUE! | #VALUE! | #VALUE!
10. C VALUE IN CHA. | #VALUE! | 0.6 | #VALUE! | #VALUE! | #VALUE!
11. New L/G | 1.6371 | 0.9 | #VALUE! | #VALUE! | #VALUE!
12. New Cooling Range (oF) | 15 |  |  | #VALUE! | #VALUE!
13. New Wet Bulb Temp. (oF) | 77 |  |  | 9.9664
14. New KaV/L | #VALUE! | New Cold Water Temperature |  |  | 86.9664
|  | New Hot Water Temperature |  |  | 101.9664
Press Button to Run
Input the data on the cells
with the background colored
with yellow.

## NTU
TOWR DEMAND (NTU) CALCULATION
Altitude (feet) |  |  | 0 | Hot Water Temperature |  |  | 104
Wet Bulb Temperature @Inlet (oF) |  |  | 80 | Cold Water Temperature |  |  | 89
L/G Ratio |  |  | 1.6492 | Cooling Range |  |  | 15
WATER SIDE |  |  | AIR SIDE |  |  | ENTHALPY DIFF.
DESCRIPTIONS | tw (oF) | hw (BTU/lb) | DESCRIPTIONS |  | ha (BTU/lb) | hw - ha | 1/(hw-ha)
tw1 + 0.1 x Range | 90.5 | #VALUE! | ha1 + 0.1 x L/G x Range |  | #VALUE! | #VALUE! | #VALUE!
tw1 + 0.4 x Range | 95 | #VALUE! | ha1 + 0.4 x L/G x Range |  | #VALUE! | #VALUE! | #VALUE!
tw1 + 0.6 x Range | 98 | #VALUE! | ha1 + 0.6 x L/G x Range |  | #VALUE! | #VALUE! | #VALUE!
tw1 + 0.9 x Range | 102.5 | #VALUE! | ha1 + 0.9 x L/G x Range |  | #VALUE! | #VALUE! | #VALUE!
| Sum of 1 / (hw - ha)............................................................................................................................ | [5 empty] | #VALUE!
| Tower Demand (NTU) = Sum of 1 / (hw - ha) / 4 * RANGE ........................................................... | [5 empty] | #VALUE!